## Sheet1
All tested projects are taken from V:\data\Imagnet_data_... Series Using the IMRT_6_experiment list in pvGUI
all ok
V:\data\Imagnet_data_17\10\171003\IMRT_6_001_Mca4 |  | data corrupted in some way, no automatic workaround
MRIax image file loading failed. Naming convention error apparent. Manual input works. | MRI search code is improved | surpassable issues
CT segmentation failure. One fiducial lost in CT segmentation. CT segmentation poor. Manual options are of help. | 1 fiducial is absent in the experiment | issues
V:\data\Imagnet_data_17\10\171012\IMRT_6_002_AAA
Image loading successful.
MRI Axial segmentation successful. 4 Fiducials. One cut short.
MRI Saggital segmentation partially successful. Red cut short.
EPR segmentation successful.
CT Segmentation failure. Fiducial lost. | 1 fiducial is absent in the experiment
V:\data\Imagnet_data_17\10\171016\IMRT6_003_AAA
Image loading failure. MRIax and MRIsg failed to load.
EPR fiducials successfully segmented.
CT segmentation partially successful. 4 fiducials found but segmentation of the leg and cast is poor. | parameters can be adjusted
1/12/18 - IMRT_Main fails to load files. Error messages present.
V:\data\Imagnet_data_17\10\171019\IMRT6_004_AAA
Images loaded successfully.
MRI axial segmentation partial success. Four fiducials found, red cut short.
MRI saggital segmentation partial success. Four fiducials found, red cut short.
EPR segmentation success.
MRI successfully registered.
CT segmentation failure. One fiducial lost. | 1 fiducial is absent in the experiment
V:\data\Imagnet_data_17\10\171025\IMRT6_005_BBB
Images loaded successfully.
MRI axial segmentation partially successful. Pink fiducial cut short. | threshold reduced to include fiducial
MRI saggital segmentation partially successful. Pink fiducial cut short.
EPR segmentation successful.
CT fiducial segmentation successful. Image segmentation successful.
Registration successful.
V:\data\Imagnet_data_17\10\171025\IMRT6_006_AAA
Image loading failed starting from EPRpO2. | search algorithm include registration folder
MRI axial segmentation failure. Fiducial lost. | reduction of threshold helps
MRI saggital segmentation failure. Fiducial lost.
EPR fiducial segmentation successful.
CT fiducial segmentation successful. Image segmentation okay.
V:\data\Imagnet_data_17\10\171025\IMRT6_007_CCC
Images loaded successfully.
MRI axial segmentation failed. Fiducial lost.
MRI saggital segmentation partially successful. Red fiducial cut short.
EPR fiducial segmentation displays four fiducials. Red fiducial appears distorted. | threshold change can solve the problem
CT fiducial segmentation successful. Image segmentation okay.
CT registration distorted.
V:\data\Imagnet_data_17\10\171026\IMRT6_008_AAA
Image loading successful.
MRI axial segmentation successful.
MRI saggital segmentation failed. Fiducial lost.
EPR fiducial segmentation success.
CT fiducial segmentation failure. Missing fiducial. Fiducial positions incorrect. Image segmentation poor. | tough case since body touches the bed
V:\data\Imagnet_data_17\10\171026\IMRT6_009_BBB
EPR images failed to load. | loadable
MRI axial segmentation successful.
MRI saggital segmentation failed. Fidducial lost.
EPR fiducial segmentation successful.
CT fiducial segmentation failure. Fiducial lost. Image segmentation poor. | 1 fiducial is absent in the experiment
V:\data\Imagnet_data_17\10\171031\IMRT6_010_AAA
MRI images failed to load. An attempt to manually load was made. | fixed with reduction of dilation diameter to 5
EPR fiducial image successfully segmented.
CT fiducial segmentation partially successful. Red fiducial cut short. Image segmentation poor.
V:\data\Imagnet_data_17\11\171102\IMRT6_011_AAA
MRI images failed to load. An attempt was made to manually load. | works fine
EPR fiducial segmentation successful.
CT segmentation failed. Fiducial lost. Image segmentation okay. | MRI registration faiure
V:\data\Imagnet_data_17\12\171206\IMRT6_012_AAA
Images loaded successfully
MRI axial image successfully segmented.
MRI sagittal image segmentation failure. Fiducial lost.
EPR fiducial segmentation successful.
CT fiducials segmented successfully. CT Image segmentation fair.
CT registration successful.
V:\data\Imagnet_data_17\12\171208\IMRT_6_013_BBB
All images loaded successfully.
MRI axial segmentation partially successfully. Black fiducial cut short.
MRI saggital image segmentation failure. Fiducial missing.
EPR fiducial segmentation distorted.
CT fiducial segmentation success. CT image segmentation fair.
CT registration failure.
V:\data\Imagnet_data_17\12\171211\IMRT_6_014_BBB
All images loaded successfully.
MRI axial segmentation partially successful. Red fiducial cut short.
MRI saggital segmentation partially successful. Blue fidicial almost non-existent.
EPR fiducials successfully segmented.
CT segmentation fair. Parameters need manual adjusting.
Registration sequence successful.
IMRT 015 Not Found
V:\data\Imagnet_data_17\12\171214\IMRT_6_016_BBB
Images successfully loaded.
MRI axial segmentation successful.
MRI saggital image segmentation partially successful. Black fiducial cut short.
EPR fiducial segmentation failure. Fiducial lost.
CT fiducial segmentation successful. CT image segmentation fair. Manual parameters could use adjustment.
CT registration sequence failure.
V:\data\Imagnet_data_17\12\171218\IMRT_6_017_BBB
All images loaded successfully.
MRI axial segmentation successful.
MRI saggital segmentation partial success. Red fiducial cut short.
EPR fiducial segmentation partially successful. Red fiducial distorted.
CT fiducial segmentation failure. Leg bone confused for fiducial. CT image segmentation failed.
V:\data\Imagnet_data_17\12\171220\IMRT_6_018_BBB
All images loaded successfully
MRI axial segmentation partially successful. Red fiducial cut short.
MRI saggital segmentation successful
EPR segmentation distorted.
CT fiducial segmentation partially successful. Red fiducial cut short. CT image segmentation poor.
V:\data\Imagnet_data_18\01\180108\IMRT6_019_AAA
All images loaded successfully
MRI axial segmentation partially successful. Two fiducials cut short.
MRI saggital segmentation partially successful. Black fiducial almost non-existent
EPR fiducial segmentation badly distorted.
CT segmentation successful. Image segmentation fair. Manual parameters could be adjusted.
CT registration sequence results in distorted fiducials.
V:\data\Imagnet_data_18\01\180110\IMRT6_020_AAA
All images successfully loaded.
MRI axial segmentation partially successful. Two fiducials cut short.
MRI saggital segmentation partially successful. Red fiducial cut very short.
EPR fiducials segmentation distorted.
CT fiducial segmentation has minor artefacts. Image segmentation fair. Manual parameters need adjustment.
Registration sequence distorted.